{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["明细"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"明细","index":0,"n_rows":854,"n_cols":7,"rows_kept":854,"merged":[[0,0,0,6],[76,0,76,6]]}
["实验室标准物明细"]
["序号","名称","规格（编号）","数量","单价","合计","备注"]
[1,"0.0141mol/L硝酸银标准溶液","GR500ml",3]
[2,"0.0141mol/L硝酸银标准溶液","GR500ml中科二环标物（SRRM）",3]
[3,"0.25mol/L重铬酸钾标准溶液（工作基准）","GR500ml中科二环标物（SRRM）",3]
[4,"pH(盲样)","GSB 07-3159-2014",3,null,null,"环境保护部标准样品研究所"]
[5,"PH标准溶液","PH=8.00",3,null,null,"深圳市博林达科技有限公司"]
[6,"PH标准溶液","PH质控样",3]
[7,"pH标准样品","GSB 07-3159-2014",3,null,null,"带证书"]
[8,"pH标准样品","BW085509",3,null,null,"水利部水环境监测评价研究中心"]
[9,"氨氮(盲样)","GSB 07-3164-2014",3,null,null,"环境保护部标准样品研究所"]
[10,"氨氮标准物质","GBW(E)080220",3,null,null,"国家标准物质"]
[11,"氨氮盲样",null,3,null,null,"环境保护部标准样品研究所"]
[12,"电导率","GBW(E)130108",3,null,null,"中国计量科学研究院"]
[13,"高锰酸盐指数(盲样)","GSB 07-3162-2014",3,null,null,"环境保护部标准样品研究所"]
[14,"高锰酸盐指数标准物质","GBW(E)080201",3,null,null,"水利部水环境监测评价研究中心"]
[15,"高锰酸盐指数标准样品","GBW(E)080201",3,null,null,"中国计量科学研究院"]
[16,"高锰酸盐指数标准样品","GSB 07-3162-2014",3,null,null,"环境保护部标准样品研究所"]
[17,"挥发酚(盲样)","GSB 07-3180-2014",3,null,null,"环境保护部标准样品研究所"]
[18,"挥发酚（水中酚）","GBW(E)080241",3,null,null,"中国计量科学研究院"]
[19,"挥发酚（水中酚）标准样品",null,3,null,null,"中国计量科学研究院"]
[20,"挥发酚（水中酚）盲样",null,3,null,null,"环境保护部标准样品研究所"]
[21,"铝","GBW（E)080219",3,null,null,"中国计量科学研究院"]
[22,"铝(盲样)","GSB 07-1375-2001",3,null,null,"环境保护部标准样品研究所"]
[23,"氯化物","GBW（E)080268",3,null,null,"中国计量科学研究院"]
[24,"氯化物","GBW(E)082683",3,null,null,"坛墨"]
[25,"氯化物(盲样)","GSB 07-1195-2000",3,null,null,"环境保护部标准样品研究所"]
[26,"氯化物标准样品","GSB 07-1195-2000",3,null,null,"环境保护部标准样品研究所"]
[27,"色度","500度",3,null,null,"中国计量科学研究院"]
[28,"色度","GBW(E)080345",3,null,null,"中国计量科学研究院"]
[29,"色度标准物质","GBW(E)080345  ",3,null,null,"国家标准物质"]
[30,"色度溶液标准物质（500度）","GBW(E)080345",3,null,null,"中国计量科学研究院"]
[31,"水中铝标准物质","GBW(E)080219  ",3,null,null,"国家标准物质"]
[32,"水中亚硝酸盐氮标准物质","100mg/L",3,null,null,"环境保护部标准样品研究所"]
[33,"水中亚硝酸盐氮标准样品","GSB 07-3165-2014",3,null,null,"北京环标科创或中国水利水电科学研究院"]
[34,"水中亚硝酸盐氮成分分析标准物质","GBW(E)080223",3,null,null,"中国计量科学研究院"]
[35,"水中总硬度标准样品","GSB 07-3163-2014",3,null,null,"北京环标科创或中国水利水电科学研究院"]
[36,"铁","GBW08616",3,null,null,"中国计量科学研究院"]
[37,"铁","GSB 07-1264-2000",3,null,null,"环境保护部标准样品研究所"]
[38,"铁(盲样)","GSB 07-1188-2000",3,null,null,"环境保护部标准样品研究所"]
[39,"铁(盲样)","GSB 07-3183-2014",3,null,null,"环境保护部标准样品研究所"]
[40,"铁标准样品","GSB 07-1188-2000",3,null,null,"带证书"]
[41,"铁标准样品",null,3,null,null,"中国计量科学研究院"]
[42,"铁单元素标准溶液","GBW08616",3,null,null,"国家标准物质"]
[43,"铁单元素溶液标准物质","GBW08616",3,null,null,"中国计量科学研究院"]
[44,"铁盲样",null,3,null,null,"环境保护部标准样品研究所"]
[45,"无水碳酸钠","50g/瓶",3]
[46,"无水碳酸钠","GBW(E)060023",3,null,null,"国家标准物质"]
[47,"无水碳酸钠（标准试剂）","50g/瓶 GBW(E)060023k",3,null,null,"中国计量科学研究院"]
[48,"无水碳酸钠纯度标准物质","GBW(E)060023",3]
[49,"锌","GBW(E)082778",3,null,null,"坛墨"]
[50,"锌","GBW08620",3,null,null,"中国计量科学研究院"]
[51,"锌（1%HNO3）","100mg/L",3,null,null,"中国计量科学研究院"]
[52,"锌(盲样)","GSB 07-1184-2000",3,null,null,"环境保护部标准样品研究所"]
[53,"锌单元素标准物质","GBW08620   ",3,null,null,"国家标准物质"]
[54,"亚硝酸标准样品","GSB 07-3165-2014",3,null,null,"带证书"]
[55,"亚硝酸标准样品",null,3,null,null,"中国计量科学研究院"]
[56,"亚硝酸盐","GBW（E)080223",3,null,null,"中国计量科学研究院"]
[57,"亚硝酸盐(盲样)","GSB 07-3165-2014",3,null,null,"环境保护部标准样品研究所"]
[58,"亚硝酸盐氮标液",null,3]
[59,"亚硝酸盐氮标准物质","GBW(E)080223",3,null,null,"国家标准物质"]
[60,"盐酸溶液标准物质,0.1mol/L(100mL)","GBW(E)060189",3,null,null,"中国计量科学研究院"]
[61,"硬度标准样品",null,3,null,null,"中国计量科学研究院"]
[62,"硬度盲样",null,3,null,null,"环境保护部标准样品研究所"]
[63,"总碱度(盲样)","GSB 07-1382-2001",3,null,null,"环境保护部标准样品研究所"]
[64,"总碱度标准物质","80ml GBW(E)083386",3,null,null,"中国计量科学研究院"]
[65,"总碱度标准样品","GSB 07-1382-2001",3,null,null,"带证书"]
[66,"总碱度标准样品",null,3,null,null,"中国计量科学研究院"]
[67,"总碱度标准样品","1.21mmoL/L",3,null,null,"环境保护部标准样品研究所"]
[68,"总碱度标准样品","BW085537",3,null,null,"水利部水环境监测评价研究中心"]
[69,"总碱度标准样品",null,3,null,null,"环境保护部标准样品研究所"]
[70,"总碱度溶液标准物质","50mL/瓶 GBW(E)083386",3,null,null,"中国计量科学研究院"]
[71,"总硬度(盲样)","GSB 07-3163-2014",3,null,null,"环境保护部标准样品研究所"]
[72,"总硬度标准样品","100μg/mL",3,null,null,"环境保护部标准样品研究所"]
[73,"总硬度标准样品",null,3,null,null,"环境保护部标准样品研究所"]
[null,"小计"]
["实验室耗材明细"]
["序号","材料名称","规格","数量","单价","合计","备注"]
[1,"  塑料桶","10L",2]
[2,"  塑料桶","2.5L",2]
[3,"  塑料桶","25L",2]
[4,"  塑料桶","5L",2]
[5,"0.45um 微孔滤膜","50片/盒（50mm×0.45um）",2]
[6,"1250压力蒸汽灭菌指示卡","3M",2]
[7,"2500ml抽滤瓶配套胶塞","14号",1]
[8,"2500ml抽滤瓶配套耐压管",null,1]
[9,"pH电极补充液","25ml",2]
[10,"ph试纸","（6.4-8.0）",3]
[11,"pp酸缸","30*28*25cm 20L",1]
[12,"WATERS螺口溶剂瓶（棕色）/1000mL","1000mL",1]
[13,"WATERS螺口溶剂瓶（棕色）/500mL","500mL",1]
[14,"安全阀","适用于上海博讯YXQ-LS-18SI型手提压力灭菌器",1]
[15,"白螺口瓶","1000mL",3]
[16,"白螺口瓶","100mL",3]
[17,"白螺口瓶","250mL",3]
[18,"白螺口瓶","500mL",3]
[19,"白色磨口瓶","1000mL",3]
[20,"白色磨口瓶","500mL",3]
[21,"白试剂瓶","10000mL",3]
[22,"白试剂瓶","1000mL",3]
[23,"白试剂瓶","100mL",3]
[24,"白试剂瓶","2500mL",3]
[25,"白试剂瓶","250mL",3]
[26,"白试剂瓶","500mL",3]
[27,"白试剂瓶","50ml",3]
[28,"白塑料桶（耐酸碱）带盖","10L双耳，高33cm，直径24.5cm，口径19cm",3]
[29,"保险绳","直径30mm",3]
[30,"比色管","25ml",3]
[31,"比色管","50ml",3]
[32,"比色管","50ml",3]
[33,"比色管架","10ml三联排/PVC",2]
[34,"比色管架","12孔",2]
[35,"比色管架","20孔pvc",2]
[36,"比色管架","25mL(亚克力)",2]
[37,"比色管架","50mL(亚克力)",2]
[38,"比色管架","6孔",2]
[39,"比色管架","pvc 50ml（单排）",2]
[40,"比色管架","pvc 50ml（取水用）",2]
[41,"比色管架","有机玻璃 100mL/30孔",2]
[42,"比色管刷","25ml",2]
[43,"比色管刷","50ml",2]
[44,"比色管刷","硅胶长柄刷",2]
[45,"比色皿","20mm石英比色皿（一套两个）岛津8210-60020",2]
[46,"比色皿","2cm/熔融一体（石英）",2]
[47,"比色皿","3cm/熔融一体（石英）",2]
[48,"比色皿刷","小羊毛刷",2]
[49,"比重计","带计量证书",2]
[50,"扁称量瓶","40*25mm",2]
[51,"扁称量瓶","60*30mm",2]
[52,"变色硅胶","500g/瓶",2]
[53,"标签纸","6cm*3.8cm（仪器检定用）",3]
[54,"标签纸","6cm*4.5cm（试剂瓶用）",3]
[55,"标签纸","A4（100张一包）防水",3]
[56,"标签纸","诺玛可移除防水撕不破40*30*1000",3]
[57,"标签纸","诺玛可移除防水撕不破50*70*600",3]
[58,"标液架","9孔(亚克力)",3]
[59,"冰箱用温度计","精创GSP-8A，带计量检定证书",3]
[60,"玻璃棒","10*400mm",3]
[61,"玻璃棒","6*250mm",3]
[62,"玻璃棒","8*300mm",3]
[63,"玻璃棒","大",3]
[64,"玻璃棒","小",3]
[65,"玻璃棒","直径6mm   长20厘米     ",3]
[66,"玻璃棒","中",3]
[67,"玻璃抽滤瓶","250mL 上嘴",3]
[68,"玻璃滴管胶头滴管玻璃小吸管","12cm（含皮头）",2]
[69,"玻璃刻度离心管","圆底螺口带塞 10mL",3]
[70,"玻璃刻度离心管","圆底螺口带塞 5mL",3]
[71,"玻璃刻度量筒","1000mL",3]
[72,"玻璃刻度量筒","100mL",3]
[73,"玻璃刻度量筒","10ml",3]
[74,"玻璃刻度量筒","250mL",3]
[75,"玻璃刻度量筒","25ml",3]
[76,"玻璃刻度量筒","500mL",3]
[77,"玻璃刻度量筒","50ml",3]
[78,"玻璃刻度量筒","5ml",3]
[79,"玻璃离心管","25 mL",3]
[80,"玻璃平皿","100mm",3]
[81,"玻璃瓶","（广口）1000ml",3]
[82,"玻璃瓶","（广口）125ml",3]
[83,"玻璃瓶","（广口）250ml",3]
[84,"玻璃瓶","（广口）500ml",3]
[85,"玻璃烧杯","50ml",3]
[86,"玻璃烧杯","100ml",3]
[87,"玻璃烧杯","150ml",3]
[88,"玻璃烧杯","200ml",3]
[89,"玻璃烧杯","300ml",3]
[90,"玻璃烧杯","500ml",3]
[91,"玻璃烧杯","1000ml",3]
[92,"玻璃烧杯","2000ml",3]
[93,"玻璃烧杯","3000ml",3]
[94,"玻璃烧杯","5000ml",3]
[95,"玻璃试管","10mL 长15CM，外径1.5cm",3]
[96,"玻璃纤维滤膜（100片/盒）  （货号：P/N66215）","PALL ∮47mm  孔径1.0um",3]
[97,"玻璃纤维素滤膜","美国PALL 47mm 100片/盒",3]
[98,"玻璃研磨器","带玻璃棒",2]
[99,"玻璃珠","5-6mm",2]
[100,"玻璃珠","OMIN 货号11079105",2]
[101,"布氏漏斗","100mm",2]
[102,"布鞋套",null,3]
[103,"擦镜纸","100张/本 10*15cm",2]
[104,"采水器","2.5升直径 12cm,高度35cm",2]
[105,"采水器","有机1L",2]
[106,"采水器","有机2.5L",2]
[107,"采样器","3L",2]
[108,"采样器","5L",2]
[109,"采样器绳","约10m",2]
[110,"缠绕膜","50cm宽330米长",1]
[111,"沉降器","1000mL",2]
[112,"沉降器架","4孔/PVC材质",2]
[113,"沉降器架子","1000mL",2]
[114,"沉降器配瓶",null,2]
[115,"沉降器套装",null,2]
[116,"称量瓶","30*60mm",2]
[117,"称量瓶","40*25",2]
[118,"称量瓶","40*60",2]
[119,"称量瓶","50mm*30mm",2]
[120,"称量瓶","50x80",2]
[121,"称量瓶","70*40mm",2]
[122,"称量瓶","直径约3cm 高度约4cm",2]
[123,"称量瓶","直径约7cm",2]
[124,"称量手套","白手套",1]
[125,"称量纸","100mm*100mm",2]
[126,"称量纸","150mm*150mm",2]
[127,"称量纸","24g 200mm*200mm 500张每包",2]
[128,"称量纸","75mm*75mm",2]
[129,"抽滤瓶","1000mL",2]
[130,"抽滤瓶","10L",2]
[131,"瓷托盘","46*36",2]
[132,"瓷蒸发皿","100mL",3]
[133,"粗口透明试剂瓶","2500mL",3]
[134,"粗口棕色试剂瓶","2500mL",3]
[135,"醋酸纤维过滤膜（0.45um）","0.45水系",3]
[136,"打火机","防风",3]
[137,"大肚吸管","100mL",3]
[138,"大肚吸管","10ml",3]
[139,"大肚吸管","15ml",3]
[140,"大肚吸管","1ml",3]
[141,"大肚吸管","20ml",3]
[142,"大肚吸管","25ml",3]
[143,"大肚吸管","2ml",3]
[144,"大肚吸管","3ml",3]
[145,"大肚吸管","4ml",3]
[146,"大肚吸管","50ml",3]
[147,"大肚吸管","5ml",3]
[148,"大肚吸管","6ml",3]
[149,"大肚吸管","7ml",3]
[150,"大肚吸管","8ml",3]
[151,"大肚吸管","9ml",3]
[156,"大口三角瓶","100mL",3]
[157,"大口三角瓶","150ml",3]
[158,"大口三角瓶","250mL",3]
[159,"大口三角瓶","250mL",3]
[160,"大口三角瓶","300ml",3]
[161,"大口三角瓶","500mL",3]
[162,"大口三角瓶","50ml",3]
[163,"大试管","17*170",3]
[164,"大试管","200ml",3]
[165,"袋盖整理箱","44cm*33cm*25cm",1]
[166,"袋盖整理箱","47.5cm*35cm*58cm",1]
[167,"袋盖整理箱","52cm*37cm*32cm",1]
[168,"袋盖整理箱","62cm*45cm*38cm",1]
[169,"袋盖整理箱","70.5cm*51cm*43cm",1]
[170,"袋盖整理箱","79.5cm*58cm*46.5cm",1]
[171,"袋盖整理箱","84cm*60cm*50cm",1]
[172,"弹簧止水夹",null,3]
[173,"导管",null,3]
[174,"酸碱通用滴定管","25ml/透明(四氟活塞透明)",3]
[175,"酸碱通用滴定管","25ml/棕色(四氟活塞)",3]
[176,"酸碱通用滴定管","50ml/透明(四氟活塞透明)",3]
[177,"酸碱通用滴定管","50ml/棕色(四氟活塞)",3]
[178,"滴定管架",null,3]
[179,"滴定管刷",null,3]
[180,"滴定夹",null,3]
[181,"滴定瓶","1000mL",1]
[182,"滴定台","适合50mL滴定管",1]
[183,"滴定台","适用50ml滴定管",1]
[184,"滴瓶","125ml/透明",1]
[185,"滴瓶","125ml/棕色",1]
[186,"碘量瓶","100mL",3]
[187,"碘量瓶","250mL",3]
[189,"碘量瓶","300ml",3]
[190,"碘量瓶（三角形）","250ml/空心盖",3]
[191,"碘量瓶（圆柱形）","250ml/棕",3]
[192,"电磁炉","2200W",1]
[193,"电动搅拌器","WH7401-90",1]
[194,"电热板",null,1]
[null,"电热套","适用于500mL圆底蒸馏瓶",1]
[195,"电陶炉","煮茶炉 美的或苏泊尔 直径20cm",1]
[196,"淀粉-碘化钾试纸","200张/本",2]
[197,"顶空瓶架(亚克力)","20孔",2]
[198,"顶空瓶架(亚克力)","40孔",2]
[199,"定量滤纸",125,3]
[200,"定量滤纸","12.5cm",3]
[201,"定量滤纸","直径11cm（100张/盒）",3]
[202,"定量滤纸","直径12.5cm（100张/盒）",3]
[203,"定量滤纸","直径15cm（100张/盒）",3]
[204,"定量盘","97孔 100个/箱",2]
[205,"定量盘","97孔 98-21675-00",2]
[206,"定性滤纸",150,3]
[207,"定性滤纸","12.5cm 中速",2]
[208,"定性滤纸","15cm 中速",2]
[209,"定性滤纸","90mm 中速",2]
[210,"定性滤纸","双圈",2]
[211,"定性滤纸","特种150",2]
[212,"定性滤纸","直径12.5cm中速100张/包",3]
[213,"定性滤纸","中速；直径11cm（100张/盒）",3]
[214,"定性滤纸","中速；直径15cm（100张/盒）",3]
[215,"杜汉氏导管","5*25mm",3]
[216,"杜氏导管","300ml试管配套使用",3]
[217,"二连球",null,3]
[218,"发酵管","6*30mm 20个/包",3]
[219,"发酵管","60*30",3]
[220,"发酵管架","详见中心",2]
[221,"反口胶塞","250mL",2]
[222,"废液桶","20L",3]
[223,"分液漏斗","125ml",3]
[224,"分液漏斗","1升/聚四氟乙烯旋钮",3]
[225,"分液漏斗","250mL",3]
[226,"分液漏斗","500mL",3]
[227,"分液漏斗（带玻璃塞）","500mL",3]
[228,"分液漏斗架","250ml分液漏斗、3*2孔",1]
[229,"分液漏斗架","500ml/6孔",1]
[230,"分液漏斗架","500mL单排4孔 65mm耐酸碱塑料",1]
[231,"分液漏斗架","500mL单排6孔",1]
[232,"分液漏斗架","单层1L",1]
[233,"封口膜","PM2699",2]
[234,"盖玻片","20*20mm",2]
[235,"盖玻片","20×20mm10×1",2]
[236,"盖玻片","24*24mm",2]
[237,"坩埚钳","20cm",2]
[238,"坩埚钳","30cm",2]
[239,"干湿温度计",null,2]
[240,"刚果红试纸",null,2]
[241,"高压橡胶软管","Φ8*2s*30m工作压力3.0MPa",2]
[242,"广口瓶","（棕色500ml磨口）",3]
[243,"广口瓶","1000mL",3]
[244,"广口瓶","1000mL白色",3]
[245,"广口瓶","125ml",3]
[246,"广口瓶","250mL",3]
[247,"广口瓶","500mL",3]
[248,"广口瓶","500ml/透明/耐高压",3]
[249,"广口三角瓶","150ml",3]
[250,"广口三角瓶","250mL",3]
[251,"广口三角烧瓶","50ml",3]
[252,"广口试剂瓶","（白）500ml",3]
[253,"广口试剂瓶","（透明）1000mL",3]
[254,"广口试剂瓶","（透明）250mL",3]
[255,"广口试剂瓶","（透明）500ml",3]
[256,"广口试剂瓶","（透明，刻度）250mL",3]
[257,"广口试剂瓶","（透明，刻度）500mL",3]
[258,"广口试剂瓶","（棕色）1000mL",3]
[259,"广口试剂瓶","（棕色）2500mL",3]
[260,"广口试剂瓶","（棕色）250mL",3]
[261,"广口试剂瓶","（棕色）5000mL",3]
[262,"广口试剂瓶","（棕色）500ml",3]
[263,"硅胶管","10米/包",2]
[264,"硅胶管","12*16mm",2]
[265,"硅胶管","6*9，内径0.6cm",2]
[266,"硅胶管","6*9，约10米长",2]
[267,"硅胶管","食品级硅胶管长10米，内直径2cm",2]
[268,"硅胶管","直径0.8cm",2]
[269,"硅胶帽","10ml",2]
[270,"硅胶帽","适用于1mL刻度吸管",2]
[271,"硅胶塞","配15*150",2]
[272,"硅胶塞","配17*170",2]
[273,"硅胶试管塞","11-15#",2]
[274,"硅胶试管塞","12-17#",2]
[275,"硅胶试管塞","24-30#",2]
[276,"硅胶试管塞","33-38# 10个/包",2]
[277,"硅胶试管塞","37-41# 10个（38-41）",2]
[278,"混合纤维滤膜  ","Φ50mm，孔径0.45µm",3]
[279,"混凝烧杯","1000mL",3]
[280,"计时器","三组多通道",2]
[281,"计数框",null,2]
[282,"家用一次性鞋套","100只/包",1]
[283,"尖嘴镊子","大",2]
[284,"尖嘴镊子","小",2]
[285,"尖嘴镊子","中",2]
[286,"胶帽","100个/包",1]
[287,"胶帽","50*1",1]
[288,"胶帽（电导电极）",null,1]
[289,"胶帽滴瓶（白）","125ml",3]
[290,"胶帽滴瓶（白）","60ml",3]
[291,"胶帽滴瓶（棕）","125ml",3]
[292,"胶帽滴瓶（棕）","60ml",3]
[293,"胶塞","配合1L抽滤瓶使用",3]
[294,"胶塞打孔器",null,1]
[295,"胶头",null,1]
[296,"胶头滴瓶","125ml白",3]
[297,"胶头滴瓶","125ml棕",3]
[298,"胶头滴瓶（白）","60ml",3]
[299,"胶头滴瓶（透明）","100mL",3]
[300,"胶头滴瓶（棕）","60ml",3]
[301,"胶头滴瓶（棕色）","100mL",3]
[302,"接种棒",null,3]
[303,"接种环","1v1",3]
[304,"接种环","2mm",3]
[305,"接种环灭菌器","LQ-I型 远红外 110W",2]
[306,"接种丝","镍铬丝",2]
[307,"接种针","约25cm",2]
[308,"具塞比色管","50ml",3]
[309,"具塞比色管","50mL  6个/1组",3]
[310,"具塞比色管","透明单支50mL（A级可过检）",3]
[311,"具塞玻璃离心管","10ml",3]
[312,"具塞磨口锥形瓶","100mL",3]
[313,"具塞三角烧瓶","250mL",3]
[314,"具塞锥形瓶","250mL",3]
[315,"聚四氟乙烯皿","250mL",2]
[316,"聚四氟乙烯膜",null,2]
[317,"聚乙烯广口采样瓶","500ml/个，50个/箱",1]
[318,"聚乙烯瓶","1000mL",3]
[319,"聚乙烯瓶","250mL",3]
[320,"聚乙烯瓶","500mL",3]
[321,"聚乙烯窄口瓶","1000mL 6个/包",3]
[322,"聚乙烯窄口瓶","100mL 12个/包",3]
[323,"聚乙烯窄口瓶","250mL 12个/包 ",3]
[324,"聚乙烯窄口瓶","500mL 12个/包",3]
[325,"聚乙烯锥形瓶","200ml",3]
[326,"可调定量加液器","10ml",3]
[327,"可调定量加液器","5ml",3]
[328,"刻度管","10ml",3]
[329,"刻度管","1ml",3]
[330,"刻度管","5ml",3]
[331,"刻度吸管","0.1ml",3]
[332,"刻度吸管","0.5ml",3]
[333,"刻度吸管","10ml",3]
[334,"刻度吸管","10mL（A）",3]
[335,"刻度吸管","10mL（B）",3]
[336,"刻度吸管","1ml",3]
[337,"刻度吸管","1mL（A）",3]
[338,"刻度吸管","1mL（B）",3]
[339,"刻度吸管","2ml",3]
[340,"刻度吸管","2mL（A）",3]
[341,"刻度吸管","2mL（B）",3]
[342,"刻度吸管","5ml",3]
[343,"刻度吸管","5ml",3]
[344,"刻度吸管","5mL（A）",3]
[345,"刻度吸管","5mL（B）",3]
[346,"刻度吸管吸水球","10mL 1-20mL",3]
[347,"空水架","蓝色",3]
[348,"宽口磨口瓶","100mL",3]
[349,"冷凝管","（COD）",3]
[350,"冷凝管","有效距离为20cm",3]
[351,"冷凝管夹","适用于蛇形冷凝 万能夹中号",3]
[352,"离心管","10ml",3]
[353,"离心管","250ml（6个/1包）",3]
[354,"离心管","50ml",3]
[355,"离心管(玻璃)","10ml",3]
[356,"离心管(塑料)","50ml",3]
[357,"量杯","100mL",3]
[358,"量杯","1L",3]
[359,"量杯","250mL",3]
[487,"量筒","1000mL",3]
[488,"量筒","100mL",3]
[489,"量筒","2000mL",3]
[490,"量筒","250mL",3]
[491,"量筒","25ml",3]
[492,"量筒","500mL",3]
[493,"量筒","50ml",3]
[360,"漏斗","75ml",3]
[361,"漏斗","90ml",3]
[362,"漏斗","直径60mm小",3]
[363,"漏斗","中号75",3]
[364,"漏斗（大）","ø100mm",3]
[365,"漏斗（大）","直径20cm、塑料",3]
[366,"漏斗（小）",null,3]
[367,"螺口瓶","250mL",3]
[368,"螺口瓶","5000mL",3]
[369,"螺口瓶","500mL",3]
[370,"螺口瓶","白色1000ml",3]
[371,"螺口瓶","白色500ml",3]
[372,"螺口瓶","棕色1000ml",3]
[373,"螺口瓶","棕色100mL",3]
[374,"螺口瓶","棕色250mL",3]
[375,"螺口瓶","棕色500ml",3]
[376,"铝箔纸","10m*30cm",3]
[377,"毛刷","（大）",3]
[378,"毛刷","10L样品桶",3]
[379,"毛刷","1cm",3]
[380,"毛刷","1L量筒",3]
[381,"毛刷","250ml三角瓶",3]
[382,"毛刷","300ml",3]
[383,"毛刷","比色皿1cm",3]
[384,"毛刷","大、长",3]
[385,"毛刷","适用25ml比色管 羊毛质地",3]
[386,"毛刷","适用50ml比色管 羊毛质地",3]
[387,"毛刷","小",3]
[388,"密度计","1.1-1.2",3]
[389,"密度计","1.2-1.3",3]
[390,"密封胶泥","3包/组",3]
[391,"棉签","100支/包 双头",3]
[392,"棉线",null,3]
[393,"棉线绳","1mm",3]
[394,"棉线绳","2mm",3]
[395,"棉质线绳","粗",3]
[396,"灭菌锅密封胶垫","YXQ-LS-18SI",2]
[397,"磨口三角烧瓶","100mL",2]
[398,"磨口三角烧瓶","150ml",2]
[399,"磨口三角烧瓶","250mL",2]
[400,"磨口三角烧瓶","250mL",2]
[401,"磨口三角烧瓶","25ml",2]
[402,"磨口三角烧瓶","500mL",2]
[403,"磨口三角烧瓶","50ml",2]
[404,"木比色管架","100 6孔 ",2]
[405,"木比色管架","50 12孔 ",2]
[406,"木比色管架","50 6孔 ",2]
[407,"木质试管架","12孔（100ml）",2]
[408,"木质试管架","12孔（50ml）",2]
[409,"耐酸过滤漏斗","G2 100mL",2]
[410,"耐酸碱腐蚀比色管刷","洗刷50ml比色管使用",2]
[411,"耐酸碱腐蚀锥形瓶刷","洗刷150ml锥形瓶使用",2]
[412,"鸟头洗瓶","500mL",2]
[413,"镊子","20cm长",2]
[414,"镊子",null,2]
[415,"镍坩埚","150ml",2]
[416,"牛皮纸","厚（尺寸：1.092m*0.787m，150g，500张/令）上海易普",3]
[417,"培养皿","120mm",3]
[418,"培养皿","60mm",3]
[419,"培养皿","75mm",3]
[420,"培养皿","90mm",3]
[421,"配件显微镜用载玻片+盖玻片套装","载玻片76.2×25.4； 盖玻片18×18mm",1]
[422,"皮筋","100g/包",2]
[423,"平板车","拉杆折叠、0.6*0.8米",1]
[424,"平板计数框","0.1ml",2]
[425,"平皿",60,3]
[426,"平皿",90,3]
[427,"平皿",120,3]
[428,"平皿",200,3]
[429,"平皿","60mm",3]
[430,"平皿","90mm",3]
[431,"平皿消毒盒","11.5寸（有提手有孔,304不锈钢）30cm*20cm*5cm",2]
[432,"瓶口分配器","1-10ml（可调，有机相）",2]
[433,"瓶口分配器","2.5-25ml有机相",2]
[434,"枪头","0.1ml",2]
[435,"枪头","10mL100个/包",2]
[436,"枪头","10ul",2]
[437,"枪头","1mL500个/包",2]
[438,"枪头","5mL300个/包",2]
[439,"全避光玻璃贴膜","长10米，宽1.5米",2]
[440,"全玻自动滴定器","25mL（白）",2]
[441,"全玻自动滴定器","25mL（棕）",2]
[442,"全玻自动滴定器","50mL（白）",2]
[443,"全玻自动滴定器","50mL（棕）",2]
[444,"容量瓶","2000ml/透",3]
[445,"容量瓶","2000ml/棕",3]
[446,"容量瓶","1000ml/透",3]
[447,"容量瓶","1000ml/棕",3]
[448,"容量瓶","500ml/透",3]
[449,"容量瓶","500ml/棕",3]
[450,"容量瓶","250ml/透",3]
[451,"容量瓶","250ml/棕",3]
[452,"容量瓶","200ml/透",3]
[453,"容量瓶","200ml/棕",3]
[454,"容量瓶","100ml/透",3]
[455,"容量瓶","100ml/棕",3]
[456,"容量瓶","50ml/透",3]
[457,"容量瓶","50mL/棕",3]
[458,"溶剂过滤器","1L",2]
[459,"溶剂过滤器","2L",2]
[460,"溶剂过滤器","5L",2]
[461,"溶剂滤芯","01018-22707",2]
[462,"溶剂瓶","（2L透明）5065-4421",2]
[463,"溶剂瓶","（2L棕）9301-6342",2]
[464,"溶解氧瓶","250mL",2]
[465,"溶解氧双盖瓶","250mL",2]
[466,"溶解氧专用瓶","250mL",2]
[467,"乳胶管",null,3]
[468,"三角量筒","10ml",3]
[469,"三角漏斗","75mm",3]
[470,"三角漏斗","90mm",3]
[471,"三角瓶","1000mL",3]
[472,"三角瓶","100mL",3]
[473,"三角瓶","150ml",3]
[474,"三角瓶","250mL",3]
[475,"三角瓶","300ml",3]
[476,"三角瓶","500mL",3]
[477,"三角瓶硅胶塞","1000ml 带砂芯",3]
[478,"三角瓶硅胶塞","150ml带砂芯",3]
[479,"三角瓶硅胶塞","250ml带砂芯",3]
[480,"三角瓶硅胶塞","300ml带砂芯",3]
[481,"三角瓶硅胶塞","500ml带砂芯",3]
[482,"三角瓶刷",null,3]
[483,"三角烧瓶","150ml",3]
[484,"三角烧瓶","250mL",3]
[485,"纱布",90,3]
[486,"纱布","80cm*10m",3]
[487,"砂轮","直径2cm",3]
[488,"砂芯漏斗","100ml-G3",3]
[489,"砂芯漏斗","150ml-G3",3]
[490,"砂芯漏斗","250mL",3]
[491,"砂芯漏斗","250mm/g4",3]
[492,"砂芯漏斗","40mlG1",3]
[493,"砂芯漏斗","500mL",3]
[658,"烧杯","1000mL",3]
[659,"烧杯","100mL",3]
[660,"烧杯","150ml",3]
[661,"烧杯","2000mL",3]
[662,"烧杯","200ml",3]
[663,"烧杯","20ml",3]
[664,"烧杯","250mL",3]
[665,"烧杯","3000ml",3]
[666,"烧杯","300ml",3]
[667,"烧杯","5000mL",3]
[668,"烧杯","500mL",3]
[669,"烧杯","50ml",3]
[494,"烧杯(塑料)","50ml",3]
[495,"蛇形冷凝管","ST106-3T",3]
[496,"蛇形冷凝管",null,3]
[497,"蛇形冷凝管（自动蒸馏仪）","STZLY1101",2]
[498,"深层取样器","2.5L",3]
[499,"深水采水器","2.5L,有机玻璃材质，内含温度计，应配15米长且直径1厘米的粗绳(可选丙纶安全绳)",2]
[500,"深水采样器","1升 有机玻璃",2]
[501,"深水采样器","2升 有机玻璃",2]
[502,"深水采样器","3升 有机玻璃",2]
[503,"深水采样器","5升 有机玻璃",2]
[504,"生物专用灭菌袋","L7503RS",3]
[505,"石英比色皿","2cm ，2个/盒",2]
[506,"石英比色皿","3cm  ，2个/盒",2]
[507,"实验室推车","不锈钢双层600*400*860",2]
[508,"实验室用刷子","白色羊毛刷 大 10个/组",1]
[509,"实验室用刷子","白色羊毛刷 小 10个/组",1]
[510,"实验室用刷子","白色羊毛刷 中 10个/组",1]
[511,"实验室用刷子","刻度吸管刷",1]
[512,"实验室用刷子","三角瓶刷 5个/组，250mL",1]
[513,"试管","17*170mm",3]
[514,"试管","17mm*178mm",3]
[515,"试管","18*180",3]
[516,"试管","30*200",3]
[517,"试管","30×200mm",3]
[518,"试管","300ml",3]
[519,"试管","40×200mm",3]
[520,"试管","B40直径40mm",3]
[521,"试管",null,3]
[522,"试管架","10mL外径1.5cm",2]
[523,"试管架","40孔",2]
[524,"试管架","50ml 13*2孔、PVC",2]
[525,"试管胶塞","30mm",3]
[526,"试管配套胶塞","与300ml试管配套使用",3]
[527,"试管刷","25ml",2]
[528,"试管刷","50ml",2]
[529,"试管刷","大号",2]
[530,"试管刷","小号",2]
[531,"试管刷","中号",2]
[532,"试剂标签贴","6个/张；100张/包",3]
[533,"试剂瓶","（白）1000ml",3]
[534,"试剂瓶","（白）125ml",3]
[535,"试剂瓶","（白）250ml",3]
[536,"试剂瓶","（白）500ml",3]
[537,"试剂瓶","（白）60ml",3]
[538,"试剂瓶","（大口）1000ml/棕",3]
[539,"试剂瓶","（大口）3000ml/棕",3]
[540,"试剂瓶","（大口）60ml/透明",3]
[541,"试剂瓶","（螺口）1000ml/棕",3]
[542,"试剂瓶","（螺口）100ml/透",3]
[543,"试剂瓶","（螺口）100ml/棕",3]
[544,"试剂瓶","（螺口）250ml",3]
[545,"试剂瓶","（螺口）250ml",3]
[546,"试剂瓶","（螺口）500ml/绿色",2]
[547,"试剂瓶","（螺口）500ml/透",2]
[548,"试剂瓶","（螺口）500mL/棕色",2]
[549,"试剂瓶","(细口）1000ml/透",2]
[550,"试剂瓶","(细口）1000ml/棕",2]
[551,"试剂瓶","(细口）100ml/透",2]
[552,"试剂瓶","(细口）100ml/棕",2]
[553,"试剂瓶","(细口）2.5L透明",2]
[554,"试剂瓶","(细口）2.5L棕色",2]
[555,"试剂瓶","(细口）250ml/透",2]
[556,"试剂瓶","(细口）250ml/棕",2]
[557,"试剂瓶","(细口）500ml/透",2]
[558,"试剂瓶","(细口）500ml/棕",2]
[559,"试剂瓶","(细口）5L/棕",2]
[560,"试剂瓶","（棕）10000ml",2]
[561,"试剂瓶","（棕）1000ml",3]
[562,"试剂瓶","（棕）125ml",3]
[563,"试剂瓶","（棕）2500ml",3]
[564,"试剂瓶","（棕）250ml",3]
[565,"试剂瓶","（棕）5000ml",3]
[566,"试剂瓶","（棕）500ml",3]
[567,"手提篮","27cm*19cm",3]
[568,"手提式垃圾袋","50*60cm  20个/卷，妙洁",3]
[569,"手提式紫外灯","366nm，功率6W",1]
[570,"数显滴定仪配套吸管","普兰德50ml数显滴定仪",1]
[571,"数显滴定仪配套旋帽",707528,2]
[572,"双盖溶氧瓶","250mL/棕色",2]
[573,"双口烧瓶","500ml STZLY1102",3]
[574,"双口烧瓶","ST106-3T  500ml",3]
[575,"水系玻璃纤维","孔径0.45μm，直径50mm",3]
[576,"水系滤膜","孔径0.45μm/直径50mm",3]
[577,"丝口试剂瓶（蓝盖透明）","500mL",3]
[578,"丝口试剂瓶（蓝盖棕色）","500mL",3]
[579,"塑料筐","320*245*100mm",2]
[580,"塑料筐","360*290*115mm",2]
[581,"塑料筐","380*260*130mm",2]
[582,"塑料筐","380*280*70mm带漏水孔",2]
[583,"塑料筐","400*320*135mm",2]
[584,"塑料离心管","100mL 30个圆底",3]
[585,"塑料离心管","10mL 100个圆底",3]
[586,"塑料离心管","MCT-150-C    500个/包",3]
[587,"塑料离心管（带塞）","100ml圆底（适用于中心离心机）",3]
[588,"塑料量杯","1000mL",2]
[589,"塑料量杯","2000mL",2]
[590,"塑料量杯","2000mL带把",2]
[591,"塑料漏斗","特大号 外径33cm 内径31cm",2]
[592,"塑料瓶","100mL",3]
[593,"塑料瓶","300ml",3]
[594,"塑料瓶","500mL",3]
[595,"塑料瓶","500mL",3]
[596,"塑料托盘",null,3]
[597,"塑料洗瓶","500mL",3]
[598,"天平刷","羊毛刷",2]
[599,"筒型分液漏斗","1升玻璃活塞",2]
[600,"筒型分液漏斗","1升聚四氟活塞",2]
[601,"透明玻璃广口试剂瓶","1000mL",3]
[602,"透明玻璃广口试剂瓶","125ml",3]
[603,"透明玻璃广口试剂瓶","250mL",3]
[604,"透明玻璃广口试剂瓶","5000mL",3]
[605,"透明玻璃广口试剂瓶","500mL",3]
[606,"透明滴定瓶","2000mL",2]
[607,"透明溶解氧瓶","带盖250ml",2]
[608,"透明试剂瓶（细口）","1000mL",3]
[609,"透明试剂瓶（细口）","100mL",3]
[610,"透明试剂瓶（细口）","250mL",3]
[611,"透明试剂瓶（细口）","500mL",3]
[612,"透明试剂瓶（细口）","50ml",3]
[613,"脱脂棉","10米",2]
[614,"脱脂纱布","10米",2]
[615,"脱脂纱布","10米",2]
[616,"脱脂纱布","长10米宽72厘米",2]
[617,"微孔过滤膜（藻类）","直径50mm孔径0.45um",3]
[618,"温度计","0-100/300mm 带天津市计量院计量证书",2]
[619,"温湿度表","带计量证书",2]
[620,"无菌包装纸","100张",2]
[621,"无菌瓶（塑料）","100mL",2]
[622,"无菌取样瓶","98-09221-00",1]
[623,"无菌容器封瓶膜","12*12；孔径0.2-0.3um;直径3cm",3]
[624,"无菌室消毒凝胶","消毒免洗洗手液500mL",3]
[625,"无菌脱脂棉球","无菌大号球500g",1]
[626,"吸耳球","大",3]
[627,"吸耳球","小",3]
[628,"吸耳球","中",3]
[629,"锡箔纸","30cm*10m",2]
[630,"洗耳球"," 60mL中号 （PVC材质）",3]
[631,"洗耳球","30ml",3]
[632,"洗耳球","50ml",3]
[633,"洗耳球","大号",3]
[634,"洗耳球","小号",3]
[635,"洗耳球","中",3]
[636,"洗耳球","中号",3]
[637,"细胞细菌玻璃培养皿","直径60mm",3]
[638,"细口瓶","1000mL白色",3]
[639,"细口瓶","1000mL棕色",3]
[640,"细口瓶","125mL白色",3]
[641,"细口瓶","125mL棕色",3]
[642,"细口瓶","250mL白色",3]
[643,"细口瓶","500mL白色",3]
[644,"细口瓶","500mL棕色",3]
[645,"细口三角瓶","250mL",3]
[646,"细口棕色试剂瓶","1000mL",3]
[647,"细口棕色试剂瓶","2500mL",3]
[648,"细口棕色试剂瓶","5000mL",3]
[649,"细口棕色试剂瓶","500mL",3]
[650,"小导管","5*25",3]
[651,"小导管",null,3]
[652,"小尖镊子","200mm",3]
[653,"小尖镊子","250mm",3]
[654,"小口三角瓶","100mL",3]
[655,"小口三角瓶","150ml",3]
[656,"小口三角瓶","250mL",3]
[657,"小口三角瓶","250mL",3]
[658,"小口三角瓶","25ml",3]
[659,"小口三角瓶","500mL",3]
[660,"小口三角瓶","50ml",3]
[661,"小砂轮","开安瓿瓶",2]
[662,"小试管","15*150",2]
[663,"药匙","长约18cm两面勺一大一小",2]
[664,"药匙",null,2]
[665,"叶绿素滤膜","0.45um 47mm 66548",3]
[666,"叶绿素滤膜","0.7um 47mm 66215",2]
[878,"医用看片灯","薄款LED 可站立 40.5cm*49.5cm 单联基础款",2]
[667,"医用双头棉签","150支/盒",2]
[668,"移液管","0.1ml",3]
[669,"移液管","0.5ml",3]
[670,"移液管","100mL",3]
[671,"移液管","10ml",3]
[672,"移液管","15ml",3]
[673,"移液管","1ml",3]
[674,"移液管","20ml",3]
[675,"移液管","25ml",3]
[676,"移液管","2ml",3]
[677,"移液管","3ml",3]
[678,"移液管","40ml",3]
[679,"移液管","4ml",3]
[680,"移液管","50ml",3]
[681,"移液管","5ml",3]
[682,"移液枪","（100-1000ul）",2]
[683,"移液枪","10ml",2]
[684,"移液枪","1-5ml",2]
[685,"移液枪枪头","（10mL）100支/袋",2]
[686,"移液枪枪头","（1ml）500支/袋",2]
[687,"移液枪枪头","（200μl）1000支/袋",2]
[688,"移液枪枪头","（20μl）1000个/包",2]
[689,"移液枪枪头","100ul",2]
[690,"移液枪枪头","10ml",2]
[691,"移液枪枪头","1ml",2]
[692,"移液枪枪头","5ml 500个/盒",2]
[693,"移液枪枪头","Axygen  0.5～10uL，1000个/袋",2]
[694,"移液枪枪头","Axygen  1～200uL，1000个/袋",2]
[695,"载玻片","1.5mm",2]
[696,"载玻片","1mm",2]
[697,"载玻片","25.4*76.2mm尺寸",2]
[698,"载玻片（带凹槽）","三或四个凹槽",2]
[699,"粘钩","透明10个装",2]
[700,"针式过滤器","滤膜为0.22um,聚丙烯材质",2]
[701,"针式过滤器","滤膜为0.22um,聚偏二氟乙烯材质",2]
[702,"针式过滤器","滤膜为0.22um,聚四氟乙烯材质",2]
[703,"针头过滤膜PTFE疏水","100个/包0.45um，φ13,AS041345-P",2]
[704,"真空橡胶管","适用于玻璃抽滤瓶",2]
[705,"振筛机","转速280r/min-320r/min；敲击140拍/min-160拍/min",2]
[706,"蒸发皿","1000mL",3]
[707,"蒸发皿","100mL",3]
[708,"蒸发皿","10cm",3]
[709,"蒸发皿","150ml",3]
[710,"蒸发皿","50ml",3]
[711,"蒸馏瓶","500mL",3]
[712,"蒸馏瓶",null,3]
[713,"锥分液漏斗","500/24欧标",3]
[714,"锥形刻度离心管","10ml带刻度",3]
[715,"锥形刻度离心管","15ml带刻度，带盖",3]
[716,"锥形离心管","5mL，高度15cm以内",3]
[717,"锥形瓶","150ml",3]
[718,"锥形瓶","250mL",3]
[719,"锥形瓶","500mL",3]
[720,"锥形瓶刷","半房软胶硅胶刷",3]
[721,"锥形瓶刷","大号",3]
[722,"锥形瓶刷","刷250ml",3]
[723,"棕色玻璃瓶（100ml螺口）","100ml 螺口 棕色",3]
[724,"棕色滴定瓶","125ml",2]
[725,"棕色滴定瓶","2000mL",2]
[726,"棕色螺口瓶","1000mL",2]
[727,"棕色磨口瓶","500mL",2]
[728,"容量瓶","25ml/透",2]
[729,"容量瓶","25ml/棕",2]
[730,"容量瓶","10ml/透",2]
[731,"容量瓶","10ml/棕",2]
[732,"容量瓶","5ml/透",2]
[733,"容量瓶","5ml/棕",2]
[734,"棕色试剂瓶","100（细口）",2]
[735,"棕色试剂瓶","10000mL",2]
[736,"棕色试剂瓶","1000mL",2]
[737,"棕色试剂瓶","1000ml（玻璃广口）",2]
[738,"棕色试剂瓶","1000mL（细口）",2]
[739,"棕色试剂瓶","100mL",2]
[740,"棕色试剂瓶","125ml（玻璃广口）",2]
[741,"棕色试剂瓶","2500mL",2]
[742,"棕色试剂瓶","250mL",2]
[743,"棕色试剂瓶","250ml（玻璃广口）",2]
[744,"棕色试剂瓶","250mL（细口）",2]
[745,"棕色试剂瓶","5000mL",2]
[746,"棕色试剂瓶","500mL",2]
[747,"棕色试剂瓶","500ml（玻璃广口）",2]
[748,"棕色试剂瓶","500mL（细口）",2]
[749,"棕色试剂瓶","50ml",2]
[750,"组织研磨器",null,2]
[751,"PH电极","InLab Expert Pro-ISM梅特勒S400K",1]
[752,"PH电极","LE438梅特勒FE20和FE28",1]
[753,"E+H电极",null,1]
[754,"185rm紫外灯",null,1]
[755,"终端滤器",null,1]
[756,"水箱空气过滤器",null,1]
[757,"纯水柱","FIBK0TIA1",1]
[null,"小计"]
[]
[null,"总价"]